## Slide 1: Surgical and Radiological Procedures
Veterinary Assisting

## Slide 2: Essential Questions
􏰒 What are radiation safety practices within the veterinary facility?
􏰒 How are radiology logs maintained within the facility?
􏰒 How is a technique chart used in veterinary radiology?
􏰒 How are the proper settings applied to radiology equipment?
􏰒 How are calipers used in radiology?
􏰒 How are radiology logs maintained within the facility?
􏰒 How are identification markers used in radiology?
􏰒 What techniques are used for manual and automatic film developing?
􏰒 How are radiographs filed?

## Slide 3: Diagnostic Imaging

## Slide 4: What is radiology?
Study of radiation and proper way to obtain radiographs.

## Slide 5: Ultrasound Diagnostics
Use of ultrasonic waves to view images of internal organs.
Sound waves bounce off patient and create an echo within the tissues which are projected to the screen.
Transducer is a wand-like tool that scans the area.

## Slide 6: Endoscopy
Visual examination of the interior of the body using an endoscope.
Endoscope is a series of fine glass rods that project an image through a light source.

## Slide 7: Radiation Safety
Standards are governed by OSHA and Department of Health.
Radiation causes
  Damage to cells
  Some cells more sensitive than others
Occurs with small exposures over a length of time
Radiation is invisible

## Slide 8: Dosimeter (Badge)
Measures radiation exposure.
Should be worn by anyone with increased risk of occupational exposure.
Pregnant women have a special badge and are not allowed to be exposed to radiation.
CLEAR!!!!!!!!

## Slide 9: Protective Equipment
Lead aprons, gloves, and shields.
Do not fold lead materials.

## Slide 10: Radiograph Equipment
Cassettes
Screen
X-ray log
X-ray machine
Collimator

## Slide 11: Radiology Terminology
Radiopaque (White)
Radiolucent (Black)
Milliamperage (mA)
Kilovoltage peak (kVp)
LAT
VD
DV
Oblique
AP
X-Ray Packages (3)
  Thoracic
  Abdomen
  Pelvic
  Skull
  Spine
  Long Bone
Contrast mediums
  Barium sulfate
  Lower GI
  Upper GI

## Slide 12: Veterinary Animal Restraint
Positioning patient and keeping patient still.
Most common right lateral recumbency.

## Slide 13: Technique Chart
List of settings on the machine based upon thickness of area to be exposed.
Grid technique
  Film not in contact with patient
  Radiation source is lower
Tabletop technique- Cassette is in contact with patient

## Slide 14: Machine Setting Procedures
On/off switch
kVp knob
mA knob
Timer

## Slide 15: Radiology Log
Legally required document.
Meeting standards of profession.
Comparison on techniques for patient follow-up films.
Recording quality of film taken.
State practice acts outline required information for the log.

## Slide 16: Patient Measurement
Calipers- Device used to measure thickness of a body part.
Centimeters-Scale used for x-rays.

## Slide 17: Film Identification
Hospital name, address, and phone number
Veterinarian’s name
X-ray number
Client’s name
Patient’s name
Date
Directional label

## Slide 18: Developing Film
Manual
  Done by hand
  Takes longer
  Is less expensive
Automatic
  Done by machine
  More expensive
  Quicker
  Better quality
  -Film is fed through machine and undergoes same process as manual.
Manual Developing
Developing tanks
  Developer solution
    Left side
    Develops the film
  Fixer solution
    Right side
    Fixes film and maintains life of film
  Wash tank
    Far right
    Rids film of chemicals

## Slide 19: Manual vs. Digital (Automatic transfer to computer)
Cassettes
Hold the film
Prevent exposure of film to light
Handle with care to avoid artifacts on the film
Hanger
Used to secure film for processing
Metal frame
Allows film to hang in tanks

## Slide 20: Film Care, Maintenance, & Storage
Filing film
  Stored and filed in much the same manner as medical records.
  Maybe done alphabetically or numerically.
Darkroom care and maintenance
  Should be clutter-free and clean
  Should be free of light leaks
  Unexposed film should be placed on counter with a metal object on the film
  Has a wet side and a dry side